{"text_format":"2","workbook":"xls","n_sheets":16,"sheets":["蒸発（阿）","蒸発（吉）","全鉄（阿）","全鉄（吉）","塩素（阿）","塩素（吉）","全硬度（阿）","全硬度（吉）","アル（阿）","アル（吉）","濁度（阿）","濁度（吉）","ph（阿）","ph（吉）","水温（阿）","水温（吉）"],"not_rendered":{"charts":16,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"蒸発（阿）","index":0,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"阿南工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",72,60,70,100]
[null,"５月",58,64,68,82]
[null,"６月",96,60,90,110]
[null,"７月",84,58,78,68]
[null,"８月",80,110,94,68]
[null,"９月",66,94,74,70]
[null,"１０月",74,76,68,120]
[null,"１１月",66,84,64,70]
[null,"１２月",68,74,72,68]
[null,"１月",74,58,66,74]
[null,"２月",100,62,60,80]
[null,"３月",80,68,58,70]

{"sheet":"蒸発（吉）","index":1,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"吉野川北岸工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",64,56,56,80]
[null,"５月",50,62,60,72]
[null,"６月",86,58,72,78]
[null,"７月",80,74,74,80]
[null,"８月",64,94,80,82]
[null,"９月",86,98,58,98]
[null,"１０月",82,66,76,86]
[null,"１１月",88,82,92,72]
[null,"１２月",80,72,96,70]
[null,"１月",50,46,84,72]
[null,"２月",110,64,78,76]
[null,"３月",58,54,84,74]

{"sheet":"全鉄（阿）","index":2,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"阿南工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",0.12,0.05,0.05,1.4]
[null,"５月",0.05,0.05,0.05,0.09]
[null,"６月",0.05,0.13,0.15,1.6]
[null,"７月",0.05,0.05,0.08,0.07]
[null,"８月",0.05,0.05,0.05,0.05]
[null,"９月",0.11,0.05,0.05,0.05]
[null,"１０月",0.09,0.05,0.05,1.7]
[null,"１１月",0.05,0.05,0.05,0.05]
[null,"１２月",0.05,0.05,0.05,0.05]
[null,"１月",0.05,0.05,0.05,0.05]
[null,"２月",0.05,0.05,0.05,0.05]
[null,"３月",0.05,0.05,0.05,0.05]

{"sheet":"全鉄（吉）","index":3,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"吉野川北岸工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",0.19,0.12,0.07,0.07]
[null,"５月",0.13,0.08,0.09,0.11]
[null,"６月",0.1,0.11,0.08,0.12]
[null,"７月",0.09,0.05,0.11,0.05]
[null,"８月",0.1,0.12,0.09,0.16]
[null,"９月",0.21,0.14,0.1,0.46]
[null,"１０月",0.18,0.18,0.09,0.09]
[null,"１１月",0.28,0.1,0.07,0.11]
[null,"１２月",0.11,0.11,0.13,0.11]
[null,"１月",0.09,0.13,0.06,0.06]
[null,"２月",0.07,0.08,0.06,0.12]
[null,"３月",0.12,0.08,0.12,0.08]

{"sheet":"塩素（阿）","index":4,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"阿南工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",3.3,2.5,4.1,4.6]
[null,"５月",2.6,1.9,3.4,3]
[null,"６月",3.2,3.9,4.5,3.8]
[null,"７月",5.1,3.2,3.1,2.4]
[null,"８月",3.8,3,3.2,2.2]
[null,"９月",4.2,3.4,2.5,2]
[null,"１０月",3.3,3.6,2.8,2.4]
[null,"１１月",5,3.7,2.1,2.6]
[null,"１２月",2.6,4.2,3.1,2.4]
[null,"１月",5.8,3.9,3.4,3.2]
[null,"２月",3.9,3.5,1.8,2.1]
[null,"３月",1.8,2.7,3.2,4.5]

{"sheet":"塩素（吉）","index":5,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"吉野川北岸工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",4.4,2.2,5.3,5.6]
[null,"５月",4.3,3.9,5,4.5]
[null,"６月",4.2,4.1,4.9,4.1]
[null,"７月",5.4,7,4.5,6.5]
[null,"８月",3.6,5,5.4,3.4]
[null,"９月",4.6,5.9,3.4,3.4]
[null,"１０月",3.6,5.7,4.1,9.7]
[null,"１１月",6.3,4.2,4,4.3]
[null,"１２月",4.9,5.4,4.6,4.3]
[null,"１月",5,4.6,5,4.9]
[null,"２月",7.7,6,4.5,4.3]
[null,"３月",4.6,5.4,6.4,6]

{"sheet":"全硬度（阿）","index":6,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"阿南工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",49,49,57,49]
[null,"５月",48,41,51,48]
[null,"６月",53,45,53,51]
[null,"７月",47,46,46,35]
[null,"８月",52,53,53,49]
[null,"９月",44,54,50,41]
[null,"１０月",44,39,48,35]
[null,"１１月",55,51,43,46]
[null,"１２月",47,51,57,53]
[null,"１月",47,46,59,55]
[null,"２月",54,49,58,54]
[null,"３月",47,52,52,56]

{"sheet":"全硬度（吉）","index":7,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"吉野川北岸工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",40,39,39,39]
[null,"５月",41,41,50,41]
[null,"６月",42,45,40,43]
[null,"７月",43,42,46,30]
[null,"８月",45,46,49,44]
[null,"９月",46,50,42,45]
[null,"１０月",43,42,51,44]
[null,"１１月",53,50,53,49]
[null,"１２月",47,46,45,47]
[null,"１月",36,35,52,45]
[null,"２月",39,46,50,44]
[null,"３月",46,40,51,46]

{"sheet":"アル（阿）","index":8,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"阿南工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",41,39,49,43]
[null,"５月",40,38,48,44]
[null,"６月",47,38,48,47]
[null,"７月",41,36,42,34]
[null,"８月",43,48,48,35]
[null,"９月",37,46,42,38]
[null,"１０月",39,38,43,34]
[null,"１１月",42,43,42,43]
[null,"１２月",43,44,46,50]
[null,"１月",42,44,47,51]
[null,"２月",45,45,42,49]
[null,"３月",39,47,42,51]

{"sheet":"アル（吉）","index":9,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"吉野川北岸工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",27,27,32,34]
[null,"５月",30,33,36,32]
[null,"６月",33,31,32,33]
[null,"７月",33,38,36,25]
[null,"８月",32,36,41,39]
[null,"９月",33,36,37,38]
[null,"１０月",32,32,40,33]
[null,"１１月",38,35,39,40]
[null,"１２月",37,34,30,38]
[null,"１月",27,28,36,34]
[null,"２月",25,36,34,34]
[null,"３月",31,30,34,32]

{"sheet":"濁度（阿）","index":10,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"阿南工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",0.8,0.1,0.1,7.6]
[null,"５月",0.1,0.1,0.1,0.9]
[null,"６月",0.2,0.7,1.5,11]
[null,"７月",0.1,0.1,0.6,0.3]
[null,"８月",0.2,0.3,0.1,0.1]
[null,"９月",0.9,0.3,0.1,0.5]
[null,"１０月",0.6,0.1,0.1,16]
[null,"１１月",0.1,0.1,0.3,0.1]
[null,"１２月",0.2,0.1,0.6,0.1]
[null,"１月",0.5,0.3,0.1,0.2]
[null,"２月",0.1,0.1,0.1,0.9]
[null,"３月",0.3,0.1,0.1,0.1]

{"sheet":"濁度（吉）","index":11,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"吉野川北岸工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",3.2,1.7,1,1.6]
[null,"５月",3.8,0.3,1.6,2.3]
[null,"６月",2.2,1.2,1.7,2.4]
[null,"７月",1.4,0.1,1.5,0.7]
[null,"８月",1.4,1.1,1.5,1]
[null,"９月",2.8,3,1.1,5.1]
[null,"１０月",2.3,3.3,1.4,1.2]
[null,"１１月",3.1,2.1,1.1,1.3]
[null,"１２月",1.6,1.6,1.7,1.7]
[null,"１月",1.6,0.7,1,1.1]
[null,"２月",1.3,1.3,0.8,1.7]
[null,"３月",1.7,0.9,1.7,1.7]

{"sheet":"ph（阿）","index":12,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"阿南工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",7.5,7.3,7.3,7.4]
[null,"５月",7.2,7.4,7.2,7.1]
[null,"６月",7.6,7.3,7.3,7.5]
[null,"７月",7.2,7.3,7.4,7.3]
[null,"８月",7.6,7.3,7.2,7.3]
[null,"９月",7.4,7.5,7.3,7.2]
[null,"１０月",7.2,7.3,7.2,7.3]
[null,"１１月",7.3,7.3,7.2,7.5]
[null,"１２月",7.6,7.5,7.4,7.4]
[null,"１月",7.6,7.4,7.4,7.2]
[null,"２月",7.1,7.4,7.5,7.3]
[null,"３月",7.4,7.4,7.3,7.3]

{"sheet":"ph（吉）","index":13,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"吉野川北岸工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",7.5,7.3,7.4,7.6]
[null,"５月",7.2,7.5,7.4,7]
[null,"６月",7.7,7.2,7.3,7.5]
[null,"７月",7.4,7,7.6,7.3]
[null,"８月",7.8,7.6,7.4,7.4]
[null,"９月",7.5,7,7.8,7.1]
[null,"１０月",7.1,7.1,7.6,7]
[null,"１１月",7.4,7.4,7,7.7]
[null,"１２月",7.6,7.4,7.6,7.4]
[null,"１月",7.8,7.3,7.5,7.4]
[null,"２月",7,7.5,7.4,7.2]
[null,"３月",7.4,7.4,7.2,7.4]

{"sheet":"水温（阿）","index":14,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"阿南工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",14.1,14.5,13.9,14.4]
[null,"５月",16.6,16.8,17.3,17.4]
[null,"６月",20.9,19,20.1,19.6]
[null,"７月",20.6,20.8,21.4,21.4]
[null,"８月",22.6,25.2,24.4,24]
[null,"９月",23.1,25.8,24.4,24.6]
[null,"１０月",20.8,21.7,21.7,22]
[null,"１１月",17.8,18.9,17.3,18.2]
[null,"１２月",15.6,15.7,14.8,16]
[null,"１月",13,12.5,11.1,12.4]
[null,"２月",10.5,10.6,9.4,11]
[null,"３月",10.7,11.2,10.5,12]

{"sheet":"水温（吉）","index":15,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"吉野川北岸工業用水道"]
[]
[]
[]
[null,null,"平成27年度","平成28年度","平成29年度","平成30年度"]
[null,"４月",15.5,14.1,14.7,14.3]
[null,"５月",15.5,17.9,20.9,18.6]
[null,"６月",22.8,22.3,23.7,23.2]
[null,"７月",23.4,20.8,26.4,23.9]
[null,"８月",27.8,29,29.8,27.6]
[null,"９月",24.1,24.9,25.9,25.3]
[null,"１０月",21.2,23.5,22,22.5]
[null,"１１月",16.4,18.3,16.2,17.2]
[null,"１２月",13.2,13.7,12.8,14.8]
[null,"１月",11.2,10.3,8.3,9.8]
[null,"２月",9,8.8,6.7,10.1]
[null,"３月",9.9,10.4,12,11.7]